## Slide 1: Utility Conservation Strategies for Owners Russell Holly
March 2022
Notes: 1

## Slide 2: My Background
19 years helping customers reduce water and energy use with ESCOs
13 years with FCBOE

## Slide 3: Fulton Facts
16MM square feet over ~100 facilities
$13MM annual utility spend
30.3 kBTU/sf
Energy Star Certified Facility Leader
E-SPLOST is key

## Slide 4: Supply Side
Competitively bid electric provider for new facilities
Georgia Power's Real-time Pricing
Use school rate schedules
24/365 - Peak demand window for some utilities

## Slide 5: Overall Strategy
Design it efficiently
Install it and commission it
Operate it efficiently

## Slide 6
Design

## Slide 7: Design it
WSHPs
RTUs for year-round occupant areas
Condensing Boilers
Lighting controls including full blackout
Reduced outside air from ionization units
Dedicated outside air units/ERUs
BAS controls on everything
Metering: electric/gas/tower makeup water
Design requirements & standards

## Slide 8
Construction
and
Cx

## Slide 9: Construction & Cx
3rd party commissioning
Internal commissioning
HVAC equipment is secondary to controls
Confirm operation
Standard sequences
Tweak unit setpoints to match facility

## Slide 10: BAS Framework
Automated Logic on 100% of facilities
Full control of DOAS/ERUs
Security and fire system monitoring
Emergency generator monitoring
Tower chemical treatment control
Power phase loss
Metering!

## Slide 11
Operations

## Slide 12: Question
When do you want to know you're wasting energy/water?
Year end
Two weeks after the billing period ends
Now

## Slide 13: Level of Analysis
BTU/sf & $/sf on annual basis
Monthly usage
Hourly usage

## Slide 14: Water use Monitoring
Not for all schools
Provides high usage alerts via e-mail
Keeps historical data in dashboard
Reduces risks/surprises
FCBOE is using this for high schools and middle schools with irrigation

## Slide 15: Water Waste
Why is the water bill high?

## Slide 16: Water Use Monitoring

## Slide 17: Water Use Monitoring
Daily Use Chart

## Slide 18: BAS Strategies
Scheduling aggressively
Limit HVAC overrides
Optimal start at each unit
Demand limiting
RTP rate response
Monitoring Central plant start times
Dashboards

## Slide 19: Plant Dashboards

## Slide 20: Meter Dashboards
Sunday Night @ 9pm

## Slide 21: Misc Tactics
Automated e-mails for lighting waste
Intrusion system for tracking occupancy
IP based cameras for spotting energy waste
Mass e-mails to schools for high electric rates
Found incorrectly programmed electric meters

## Slide 22: Future Tactics
Behavior modification at the school level
Dashboard for reducing energy use
Power usage for lighting
Motion sensors & HVAC occupancy
System-wide LED project

## Slide 23
Questions?